## Sheet1
Region | Asset Type | Site Name | Owner | Technology Type | Fuel Type | DUID | Number of Units | Lower Nameplate Capacity (MW) | Upper Nameplate Capacity (MW) | Aggregated Lower Nameplate Capacity (MW) | Aggregated Upper Nameplate Capacity (MW) | Nameplate Capacity (MW) | Storage Capacity (MWh) | Unit Status | Dispatch Type | Full Commercial Use Date | Expected Closure Year | Closure Date | Status Bucket Summary | Fuel Bucket Summary | SurveyId | AEMO KCI Id | Survey Last Requested | Survey Version DateTime
SA1 | Existing Plant | Adelaide Airport | Adelaide Airport Ltd | Solar PV - Fixed | Solar - Solar |  | 16 |  | 0.06 |  | 0.96 | 0.96 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 1536 |  | 2022-09-01 | 2018-05-27 23:02
SA1 | Existing Plant | Adelaide Airport | Adelaide Airport Ltd | Solar PV - Fixed | Solar - Solar |  | 2 |  | 0.02 |  | 0.04 | 0.04 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 1536 |  | 2022-09-01 | 2018-05-27 23:02
SA1 | Existing Plant | Adelaide Desalination Plant | South Australian Water Corporation | Storage - Battery | Other - Other | ADPBA1G | 1 |  | 6.27 |  | 6.27 | 6.27 | 12.6 | In Service | S | 2022-05-01 | 2041 |  | Existing less Announced Withdrawal | Battery Storage | 1844 |  | 2023-04-01 | 2023-04-06 11:09
SA1 | Existing Plant | Adelaide Desalination Plant | South Australian Water Corporation | Solar PV - Fixed | Solar - Solar | ADPPV1 | 4 |  | 2.75 |  | 11 | 11 |  | In Service | SS | 2022-05-01 | 2041 |  | Existing less Announced Withdrawal | Solar | 1844 |  | 2023-04-01 | 2023-04-06 11:09
SA1 | Existing Plant | Adelaide Desalination Plant | South Australian Water Corporation | Solar PV - Fixed | Solar - Solar | ADPPV2 | 4 |  | 3.43 |  | 13.72 | 13.72 |  | In Service | NS | 2022-07-01 | 2041 |  | Existing less Announced Withdrawal | Solar | 1844 |  | 2023-04-01 | 2023-04-06 11:09
SA1 | Existing Plant | Adelaide Zoo Solar System | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.15 |  | 0.15 | 0.15 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2067 |  |  | 2022-09-21 11:02
SA1 | Existing Plant | Angaston | Snowy Hydro Ltd | Reciprocating Engine - Compression ignition | Fossil - Diesel | ANGAST1 | 1 |  | 21.6 |  | 21.6 | 21.6 |  | In Service | S |  | 2070 |  | Existing less Announced Withdrawal | Other | 1002 |  | 2023-04-01 | 2023-05-31 11:20
SA1 | Existing Plant | Angaston | Snowy Hydro Ltd | Reciprocating Engine - Compression ignition | Fossil - Diesel | ANGAST1 | 1 |  | 14.4 |  | 14.4 | 14.4 |  | In Service | S |  | 2070 |  | Existing less Announced Withdrawal | Other | 1002 |  | 2023-04-01 | 2023-05-31 11:20
SA1 | Project | Aurora Solar Energy Project - Phase 1 | SiliconAurora | Storage - Battery | Other - Other |  | 1 | 140 | 140 | 140 | 140 | 140 | 140 | Publicly Announced | S |  | 2052 |  | Proposed | Battery Storage | 1390 |  | 2023-05-23 | 2023-04-04 14:26
SA1 | Project | Australia Plains Solar Farm | UPC-AC | Solar PV - Single axis tracking | Solar - Solar |  | 1 | 0 | 200 | 0 | 200 | 200 |  | Publicly Announced | SS |  |  |  | Proposed | Solar | 1952 | S00015 | 2023-05-23 | 2023-04-12 11:27
SA1 | Existing Plant | Barker Inlet Power Station | AGL Barker Inlet Pty Ltd | Reciprocating Engine - Spark ignition | Fossil - Natural Gas Pipeline | BARKIPS1 | 12 |  | 17.5 |  | 210 | 210 |  | In Service | S | 2020-01-01 | 2044 |  | Existing less Announced Withdrawal | Gas other | 1463 |  | 2023-04-01 | 2023-04-05 09:07
SA1 | Project | Barn Hill | Barn HIll Wind Farm Pty Ltd | Wind Turbine - Onshore | Wind - Wind |  | 62 | 2 | 3 | 124 | 186 | 124.00 - 186.00 |  | Publicly Announced | SS |  |  |  | Proposed | Wind | 1011 |  | 2023-05-23 | 2023-06-26 18:42
SA1 | Project | Baroota Pumped Hydro Project | ACEN Renewables | Hydro - Dam | Hydro - Water |  | 2 | 125 | 125 | 250 | 250 | 250 | 0 | Publicly Announced | S | 2025-12-01 | 2072 |  | Proposed | Water | 1682 |  | 2023-05-23 | 2023-06-20 11:15
SA1 | Existing Plant | BHP Olympic Dam Backup Generation | BHP Billiton | Reciprocating Engine - Compression ignition | Fossil - Diesel |  | 1 |  | 30 |  | 30 | 30 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Other | 2073 |  |  | 2022-09-25 22:50
SA1 | Project | Blacktop BESS - KCI | BESS Officer Pty Ltd | Storage - Battery | Other - Other |  | 1 | 100 | 100 | 100 | 100 | 100 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2305 | S00028 | 2023-04-01 | 2023-01-18 10:25
SA1 | Existing Plant | Blue Lake Milling Power Plant | Vibe Energy Pty Ltd | Reciprocating Engine - Compression ignition | Fossil - Diesel | BLULAKE | 1 | 0.51 | 0.51 | 0.51 | 0.51 | 0.51 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Other | 1302 |  | 2022-03-01 | 2023-02-24 09:44
SA1 | Project | Blyth BESS | Neoen Australia Pty Ltd | Storage - Battery | Other - Other |  | 64 | 0 | 3.13 | 0 | 200 | 200 | 400 | Anticipated | S | 2024-12-01 | 2044 |  | Anticipated | Battery Storage | 2248 | S00021 | 2023-05-23 | 2023-06-22 12:30
SA1 | Existing Plant | Bolivar Power Station | Iberdrola Australia Energy Markets Pty Limited | Turbine - OCGT | Fossil - Natural Gas Pipeline | BOLIVPS1 | 4 |  | 30.8 |  | 123.2 | 123.2 |  | In Service | S | 2022-12-01 | 2045 |  | Existing less Announced Withdrawal | OCGT | 1533 |  | 2023-04-01 | 2023-04-05 11:45
SA1 | Existing Plant | Bolivar Waste Water Treatment | South Australian Water Corporation | Storage - Battery | Other - Other | BOWWBA1G | 1 |  | 2.46 |  | 2.46 | 2.46 | 5.04 | In Service | S | 2023-02-01 | 2045 |  | Existing less Announced Withdrawal | Battery Storage | 1393 |  | 2023-04-01 | 2023-04-04 14:32
SA1 | Existing Plant | Bolivar Waste Water Treatment | South Australian Water Corporation | Solar PV - Fixed | Solar - Solar | BOWWPV1 | 3 |  | 3.75 |  | 11.25 | 11.25 |  | In Service | SS | 2022-10-01 | 2045 |  | Existing less Announced Withdrawal | Solar | 1393 |  | 2023-04-01 | 2023-04-04 14:32
SA1 | Existing Plant | Bolivar Waste Water Treatment | South Australian Water Corporation | Reciprocating Engine - Spark ignition | Renewable Biomass or Waste - Biogas |  | 3 |  | 2.5 |  | 7.5 | 7.5 |  | In Service | NS |  | 2045 |  | Existing less Announced Withdrawal | Biomass | 1393 |  | 2023-04-01 | 2023-04-04 14:32
SA1 | Existing Plant | Bordertown Power Station Gen | Vibe Energy Pty Ltd | Reciprocating Engine - Compression ignition | Fossil - Diesel |  | 1 | 0.8 | 5 | 0.8 | 5 | 5 | 0 | In Service | NS |  |  |  | Existing less Announced Withdrawal | Other | 1511 |  | 2021-04-01 | 2023-02-24 09:40
SA1 | Project | Bridle Track Solar Project | ACEN Renewables | Solar PV - Single axis tracking | Solar - Solar |  | 1 | 300 | 300 | 300 | 300 | 300 | 0 | Publicly Announced | SS |  | 2051 |  | Proposed | Solar | 1686 |  | 2023-05-23 | 2023-06-20 11:16
SA1 | Project | Brinkworth BESS - Storage - KCI | Equis Energy (Australia) Projects (Ngumi 6) Pty Ltd as trustee for the Equis Energy(Australia) Ngumi 6 Asset Trust | Storage - Battery | Other - Other |  | 1 | 200 | 200 | 200 | 200 | 200 | 400 | Publicly Announced | S |  |  |  | Proposed | Battery Storage | 2388 | S00034 | 2023-04-01 | 2023-04-11 15:24
SA1 | Project | Bundey Energy Hub Battery Energy Storage A | Bundey Energy Hub P/L | Storage - Battery | Other |  | 1 |  | 500 |  | 500 | 500 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2551 | S00042 |  | 2023-07-04 12:31
SA1 | Project | Bungala BESS | Enel Green Power Australia Pty Ltd | Storage - Battery | Other - Other |  | 1 |  | 40 |  | 40 | 40 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2261 | S00019 | 2023-04-01 | 2022-12-08 09:21
SA1 | Existing Plant | Bungala One Solar Farm | Bungala One Operations Pty Ltd as trustee for the Bungala One Operations Trust | Solar PV - Single axis tracking | Solar - Solar | BNGSF1 | 54 | 2.04 | 2.5 | 110.16 | 135 | 135 | 0 | In Service | SS | 2018-12-01 | 2044 |  | Existing less Announced Withdrawal | Solar | 1589 |  | 2023-05-23 | 2023-06-26 19:12
SA1 | Project | Bungala Three Solar Power Plant | Reach Solar Management Co | Solar PV - Single axis tracking | Solar - Solar |  | 39 | 2.05 | 2.05 | 79.99 | 79.99 | 79.99 | 0 | Publicly Announced | SS |  |  |  | Proposed | Solar | 1483 |  | 2023-04-01 | 2022-05-12 11:32
SA1 | Existing Plant | Bungala Two Solar Farm | Bungala Two Operations Pty Ltd as trustee for the Bungala Two Operations Trust | Solar PV - Single axis tracking | Solar - Solar | BNGSF2 | 54 | 2.04 | 2.5 | 110.16 | 135 | 135 |  | In Service | SS | 2021-09-01 | 2044 |  | Existing less Announced Withdrawal | Solar | 1587 |  | 2023-05-23 | 2023-06-26 19:09
SA1 | Project | Bungama Solar | Bungama Project (Solar) Operations Pty Ltd | Storage - Battery | Other - Other |  | 60 |  | 2.5 |  | 150 | 150 | 300 | Publicly Announced | S |  |  |  | Proposed | Battery Storage | 2049 | S00004 | 2023-05-23 | 2023-06-20 14:26
SA1 | Project | Bungama Solar | Bungama Project (Solar) Operations Pty Ltd | Solar PV - Single axis tracking | Solar - Solar |  | 1 |  | 280 |  | 280 | 280 |  | Publicly Announced | SS |  |  |  | Proposed | Solar | 2049 | S00004 | 2023-05-23 | 2023-06-20 14:26
SA1 | Existing Plant | Canunda | Canunda Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | CNUNDAWF | 23 | 2 | 2 | 46 | 46 | 46 |  | In Service | SS |  | 2035 |  | Existing less Announced Withdrawal | Wind | 1037 |  | 2023-04-01 | 2023-05-31 11:26
SA1 | Project | Carmodys Hill Wind Farm | Georgetown Hills Renewable Energy Pty Ltd | Wind Turbine - Onshore | Wind - Wind |  | 38 | 6.2 | 6.6 | 235.6 | 250.8 | 235.60 - 250.80 |  | Publicly Announced | SS |  |  |  | Proposed | Wind | 1040 |  | 2023-05-23 | 2023-03-29 14:57
SA1 | Project | Carmodys Hill Wind Farm | Georgetown Hills Renewable Energy Pty Ltd | Storage - Battery | Wind - Wind |  | 1 | 118 | 118 | 118 | 118 | 118 | 236 | Publicly Announced | SS |  |  |  | Proposed | Wind | 1040 |  | 2023-05-23 | 2023-03-29 14:57
SA1 | Existing Plant | Cathedral Rocks | JV Cathedral Rock Investments Pty Ltd - Acciona Energy Australia Global Pty Ltd and EnergyAustralia Pty Ltd | Wind Turbine - Onshore | Wind - Wind | CATHROCK | 31 | 2 | 2 | 62 | 62 | 62 |  | In Service | SS |  | 2030 |  | Existing less Announced Withdrawal | Wind | 1042 |  | 2023-04-01 | 2023-03-30 09:32
SA1 | Project | Chaff Mill (Mintaro) BESS | FRV Services Australia Pty Ltd | Storage - Battery | Other - Other | CHMLBESS | 29 | 3.5 | 3.5 | 101.5 | 101.5 | 101.5 | 200 | Publicly Announced | S |  |  |  | Proposed | Battery Storage | 2238 | S00006 | 2023-04-01 | 2023-04-11 16:03
SA1 | Existing Plant | Christies Beach Wastewater Treatment Plant | South Australian Water Corporation | Storage - Battery | Other - Other | CBWWBA1G | 1 |  | 2.09 |  | 2.09 | 2.09 | 4.32 | In Service | S | 2023-01-01 | 2041 |  | Existing less Announced Withdrawal | Battery Storage | 1845 |  | 2023-04-01 | 2023-04-06 11:17
SA1 | Existing Plant | Christies Beach Wastewater Treatment Plant | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | CBWWPV1 | 2 |  | 2.4 |  | 4.8 | 4.8 |  | In Service | NS | 2022-10-01 | 2041 |  | Existing less Announced Withdrawal | Solar | 1845 |  | 2023-04-01 | 2023-04-06 11:17
SA1 | Project | Clements Gap - BESS | Pacific Hydro Clements Gap Pty Ltd | Storage - Battery | Other - Other |  | 1 |  | 60 |  | 60 | 60 | 120 | Publicly Announced | S | 2025-02-01 |  |  | Proposed | Battery Storage | 1993 | S00020 | 2023-05-23 | 2023-04-12 10:25
SA1 | Existing Plant | Clements Gap Wind Farm | Pacific Hydro Clements Gap Pty Ltd | Wind Turbine - Onshore | Wind - Wind | CLEMGPWF | 27 |  | 2.1 |  | 56.7 | 56.7 |  | In Service | SS |  | 2039 |  | Existing less Announced Withdrawal | Wind | 1047 |  | 2023-04-01 | 2023-03-30 09:47
SA1 | Existing Plant | Coopers Co-gen | AGL | Turbine - CCGT | Fossil - Natural Gas Pipeline |  | 1 |  | 4.4 |  | 4.4 | 4.4 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | CCGT | 1542 |  | 2022-09-01 | 2022-09-29 11:15
SA1 | Project | Cultana Solar Farm | Cultana Solar Project Company Pty Ltd as trustee for the Cultana Solar Farm Trust | Solar PV - Single axis tracking | Solar - Solar |  | 104 | 0 | 3.44 | 0 | 357.45 | 357.45 |  | Anticipated | SS | 2025-07-01 | 2055 |  | Anticipated | Solar | 1886 |  | 2023-05-23 | 2023-06-21 08:28
SA1 | Existing Plant | Dalrymple BESS | ElectraNet | Storage - Battery | Other - Other | DALNTH01 | 12 |  | 2.5 |  | 30 | 30 | 9 | In Service | S |  | 2030 |  | Existing less Announced Withdrawal | Battery Storage | 1553 |  | 2023-04-01 | 2023-05-31 14:28
SA1 | Project | Direk BESS | Gransolar | Storage - Battery | Other - Other |  | 1 | [5 empty] | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2429 |  | 2023-04-01 | 2023-04-20 12:36
SA1 | Project | Dry Creek BESS - KCI | International Power (Energy) Pty Ltd | Storage - Battery | Other - Other |  | 1 | 77 | 77 | 77 | 77 | 77 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2306 | S00030 | 2023-04-01 | 2023-01-18 13:51
SA1 | Existing Plant | Dry Creek GT | Synergen Power Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | DRYCGT1 | 1 |  | 52 |  | 52 | 52 |  | In Service | S |  | 2030 |  | Existing less Announced Withdrawal | OCGT | 1070 |  | 2023-04-01 | 2023-03-30 10:23
SA1 | Existing Plant | Dry Creek GT | Synergen Power Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | DRYCGT2 | 1 |  | 52 |  | 52 | 52 |  | In Service | S |  | 2030 |  | Existing less Announced Withdrawal | OCGT | 1070 |  | 2023-04-01 | 2023-03-30 10:23
SA1 | Existing Plant | Dry Creek GT | Synergen Power Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | DRYCGT3 | 1 |  | 52 |  | 52 | 52 |  | In Service | S |  | 2030 |  | Existing less Announced Withdrawal | OCGT | 1070 |  | 2023-04-01 | 2023-03-30 10:23
SA1 | Project | Emeroo BESS | Enel Green Power Australia Pty Ltd | Storage - Battery | Other - Other |  | 14 | 2.86 | 4.39 | 40.04 | 61.46 | 40.04 - 61.46 | 5.71 | Publicly Announced | S |  | 2046 |  | Proposed | Battery Storage | 2262 | S00026 | 2023-04-01 | 2023-06-23 13:24
SA1 | Project | Exmoor | Acciona Energy | Wind Turbine - Onshore | Wind - Wind |  | 48 | 3 | 3 | 144 | 144 | 144 | 0 | Publicly Announced | SS |  |  |  | Proposed | Wind | 1304 |  | 2023-05-23 | 2023-03-31 11:26
SA1 | Project | GEP - SRBE1 | GEP Developments PtyLtd | Wind Turbine - Offshore | Wind - Wind |  | 87 |  | 23 |  | 2001 | 2001 |  | Publicly Announced | SS |  |  |  | Proposed | Wind | 2443 |  | 2023-04-01 | 2023-06-01 08:39
SA1 | Project | Geranium Plains Solar and BESS | Risen Energy (Australia) Pty Ltd | Solar PV - Single axis tracking | Solar - Solar |  | 1 |  | 250 |  | 250 | 250 |  | Publicly Announced | SS |  |  |  | Proposed | Solar | 1943 | S00018 | 2023-04-01 | 2023-01-18 13:56
SA1 | Project | Geranium Plains Solar and BESS | Risen Energy (Australia) Pty Ltd | Storage - Battery | Other - Other |  | 1 |  | 150 |  | 150 | 150 | 0 | Publicly Announced | S |  |  |  | Proposed | Battery Storage | 1943 | S00018 | 2023-04-01 | 2023-01-18 13:56
SA1 | Project | Goat Hill Pumped Hydro | Altura Group | Storage - Pumped hydro | Hydro - Water |  | 1 | 0 | 230 | 0 | 230 | 230 | 1840 | Publicly Announced | S |  |  |  | Proposed | Water | 1491 |  | 2023-05-23 | 2023-06-20 10:02
SA1 | Project | Goyder South Hub - BESS | Neoen | Storage - Battery | Other - Other |  | 1 | 0 | 200 | 0 | 200 | 200 | 0 | Publicly Announced | S |  |  |  | Proposed | Battery Storage | 1962 | S00003 | 2023-05-23 | 2023-06-20 12:53
SA1 | Project | Goyder South Wind Farm 1A | Neoen Australia Pty Ltd | Wind Turbine - Onshore | Wind - Wind | GSWF1A | 38 | 0 | 5.5 | 0 | 209 | 209 |  | Committed | SS | 2023-07-01 | 2048 |  | Committed | Wind | 1964 | S00003 | 2023-05-23 | 2023-06-20 12:57
SA1 | Project | Goyder South Wind Farm 1B | Neoen Australia Pty Ltd | Wind Turbine - Onshore | Wind - Wind | GSWF1B | 37 | 0 | 5.5 | 0 | 203.5 | 203.5 |  | Committed | SS | 2024-07-01 | 2049 |  | Committed | Wind | 2404 | S00003 | 2023-05-23 | 2023-06-22 12:25
SA1 | Existing Plant | Hallett 4 North Brown Hill | Brown Hill North Pty Ltd | Wind Turbine - Onshore | Wind - Wind | NBHWF1 | 63 | 2.1 | 2.1 | 132.3 | 132.3 | 132.3 |  | In Service | SS |  | 2036 |  | Existing less Announced Withdrawal | Wind | 1311 |  | 2023-04-01 | 2023-03-31 11:27
SA1 | Existing Plant | Hallett 5 The Bluff WF | Eurus Energy | Wind Turbine - Onshore | Wind - Wind | BLUFF1 | 25 |  | 2.1 |  | 52.5 | 52.5 |  | In Service | SS |  | 2036 |  | Existing less Announced Withdrawal | Wind | 1085 |  | 2023-04-01 | 2023-03-30 10:43
SA1 | Existing Plant | Hallett GT | EnergyAustralia Hallett Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | AGLHAL | 4 |  | 17 |  | 68 | 68 |  | In Service | S |  | 2032 |  | Existing less Announced Withdrawal | OCGT | 1086 |  | 2023-04-01 | 2023-04-03 09:56
SA1 | Existing Plant | Hallett GT | EnergyAustralia Hallett Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | AGLHAL | 2 |  | 20.75 |  | 41.5 | 41.5 |  | In Service | S |  | 2032 |  | Existing less Announced Withdrawal | OCGT | 1086 |  | 2023-04-01 | 2023-04-03 09:56
SA1 | Existing Plant | Hallett GT | EnergyAustralia Hallett Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | AGLHAL | 2 |  | 18.9 |  | 37.8 | 37.8 |  | In Service | S |  | 2032 |  | Existing less Announced Withdrawal | OCGT | 1086 |  | 2023-04-01 | 2023-04-03 09:56
SA1 | Existing Plant | Hallett GT | EnergyAustralia Hallett Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | AGLHAL | 1 |  | 37.2 |  | 37.2 | 37.2 |  | In Service | S |  | 2050 |  | Existing less Announced Withdrawal | OCGT | 1086 |  | 2023-04-01 | 2023-04-03 09:56
SA1 | Existing Plant | Hallett GT | EnergyAustralia Hallett Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | AGLHAL | 1 |  | 27 |  | 27 | 27 |  | In Service | S |  | 2032 |  | Existing less Announced Withdrawal | OCGT | 1086 |  | 2023-04-01 | 2023-04-03 09:56
SA1 | Existing Plant | Hallett GT | EnergyAustralia Hallett Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | AGLHAL | 1 |  | 25.6 |  | 25.6 | 25.6 |  | In Service | S |  | 2032 |  | Existing less Announced Withdrawal | OCGT | 1086 |  | 2023-04-01 | 2023-04-03 09:56
SA1 | Existing Plant | Hallett GT | EnergyAustralia Hallett Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | AGLHAL | 1 |  | 21.76 |  | 21.76 | 21.76 |  | In Service | S |  | 2032 |  | Existing less Announced Withdrawal | OCGT | 1086 |  | 2023-04-01 | 2023-04-03 09:56
SA1 | Existing Plant | Hallett GT | EnergyAustralia Hallett Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | AGLHAL | 1 |  | 18 |  | 18 | 18 |  | In Service | S |  | 2032 |  | Existing less Announced Withdrawal | OCGT | 1086 |  | 2023-04-01 | 2023-04-03 09:56
SA1 | Existing Plant | Hallett Stage 1 Brown Hill | Palisade Investment Partner Limited | Wind Turbine - Onshore | Wind - Wind | HALLWF1 | 45 | 2.1 | 2.1 | 94.5 | 94.5 | 94.5 |  | In Service | SS |  | 2043 |  | Existing less Announced Withdrawal | Wind | 1087 |  | 2023-04-01 | 2023-03-30 10:47
SA1 | Existing Plant | Hallett Stage 2 Hallett Hill | Infrastructure Capital Group Limited | Wind Turbine - Onshore | Wind - Wind | HALLWF2 | 34 | 2.1 | 2.1 | 71.4 | 71.4 | 71.4 |  | In Service | SS |  | 2035 |  | Existing less Announced Withdrawal | Wind | 1088 |  | 2023-04-01 | 2023-03-30 10:49
SA1 | Existing Plant | Happy Valley Reservoir | South Australian Water Corporation | Storage - Battery | Other - Other | HVWABA1G | 1 |  | 4.41 |  | 4.41 | 4.41 | 8.82 | In Service | S | 2022-12-01 | 2041 |  | Existing less Announced Withdrawal | Battery Storage | 1846 |  | 2023-04-01 | 2023-04-06 11:23
SA1 | Existing Plant | Happy Valley Reservoir | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | HVWAPV1 | 3 |  | 2.78 |  | 8.34 | 8.34 |  | In Service | SS | 2022-09-01 | 2041 |  | Existing less Announced Withdrawal | Solar | 1846 |  | 2023-04-01 | 2023-04-06 11:23
SA1 | Project | Heathgate Resources Beverley mine - BESS | SunSHIFT | Storage - Battery | Other - Other |  | 1 |  | 1 |  | 1 | 1 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2050 |  | 2023-04-01 | 2022-09-20 15:01
SA1 | Project | Highbury Pumped Hydro Energy Storage | Tilt Renewables | Storage - Pumped hydro | Hydro - Water |  | 1 | 0 | 300 | 0 | 300 | 300 | 0 | Publicly Announced | S |  |  |  | Proposed | Water | 1485 |  | 2023-04-01 | 2023-02-24 09:35
SA1 | Existing Plant | Hornsdale Power Reserve Unit 1 | Hornsdale Power Reserve Pty Ltd | Storage - Battery | Other - Other | HPRG1 | 1 |  | 100 |  | 100 | 100 | 117 | In Service | S |  | 2057 |  | Existing less Announced Withdrawal | Battery Storage | 1610 |  | 2023-04-01 | 2023-04-05 14:04
SA1 | Existing Plant | Hornsdale Power Reserve Unit 1 | Hornsdale Power Reserve Pty Ltd | Storage - Battery | Other - Other | HPRG1 | 1 |  | 50 |  | 50 | 50 | 61.3 | In Service | S | 2020-07-01 | 2057 |  | Existing less Announced Withdrawal | Battery Storage | 1610 |  | 2023-04-01 | 2023-04-05 14:04
SA1 | Existing Plant | Hornsdale Wind Farm Stage 1 | HWF 1 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | HDWF1 | 32 | 3.2 | 3.2 | 102.4 | 102.4 | 102.4 |  | In Service | SS |  | 2056 |  | Existing less Announced Withdrawal | Wind | 1300 |  | 2023-04-01 | 2023-03-31 11:21
SA1 | Existing Plant | Hornsdale Wind Farm Stage 2 | HWF 2 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | HDWF2 | 32 | 3.2 | 3.2 | 102.4 | 102.4 | 102.4 |  | In Service | SS |  | 2057 |  | Existing less Announced Withdrawal | Wind | 1376 |  | 2023-04-01 | 2023-03-31 12:05
SA1 | Existing Plant | Hornsdale Wind Farm Stage 3 | HWF 3 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | HDWF3 | 35 | 3.2 | 3.2 | 112 | 112 | 112 |  | In Service | SS |  | 2057 |  | Existing less Announced Withdrawal | Wind | 1381 |  | 2023-04-01 | 2023-03-31 12:21
SA1 | Project | Kingfisher Solar Storage - Solar | Lyon Solar | Solar PV - Single axis tracking | Solar - Solar |  | 120 | [6 empty] | Publicly Announced | SS |  |  |  | Proposed | Solar | 1395 |  | 2023-04-01 | 2018-07-31 01:25
SA1 | Project | Kingfisher Solar Storage - Storage | Lyon Solar | Storage - Battery | Other - Other |  | 1 |  | 100 |  | 100 | 100 | 0 | Publicly Announced | S |  |  |  | Proposed | Battery Storage | 2051 |  | 2023-04-01 | 2022-09-20 15:10
SA1 | Existing Plant | Kingscote Power Station | SA Power Networks | Reciprocating Engine - Compression ignition | Fossil - Diesel |  | 4 | 2 | 2 | 8 | 8 | 8 | 0 | In Service | NS |  |  |  | Existing less Announced Withdrawal | Other | 1519 |  | 2022-09-01 | 2023-02-24 09:42
SA1 | Existing Plant | Ladbroke Grove | Origin Energy Power Limited | Turbine - OCGT | Fossil - Natural Gas Pipeline | LADBROK1 | 1 |  | 40 |  | 40 | 40 |  | In Service | S |  | 2035 |  | Existing less Announced Withdrawal | OCGT | 1107 |  | 2023-04-01 | 2023-04-03 11:44
SA1 | Existing Plant | Ladbroke Grove | Origin Energy Power Limited | Turbine - OCGT | Fossil - Natural Gas Pipeline | LADBROK2 | 1 |  | 40 |  | 40 | 40 |  | In Service | S |  | 2035 |  | Existing less Announced Withdrawal | OCGT | 1107 |  | 2023-04-01 | 2023-04-03 11:44
SA1 | Existing Plant | Lake Bonney 1 Wind Farm | Lake Bonney Wind Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LKBONNY1 | 46 | 1.75 | 1.75 | 80.5 | 80.5 | 80.5 |  | In Service | NS |  | 2035 |  | Existing less Announced Withdrawal | Wind | 1108 |  | 2023-04-01 | 2023-04-18 17:59
SA1 | Existing Plant | Lake Bonney 2 Wind Farm | Lake Bonney Wind Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LKBONNY2 | 53 | 3 | 3 | 159 | 159 | 159 |  | In Service | SS |  | 2038 |  | Existing less Announced Withdrawal | Wind | 1109 |  | 2023-04-01 | 2023-03-30 10:58
SA1 | Existing Plant | Lake Bonney 3 Wind Farm | Lake Bonney Wind Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LKBONNY3 | 13 | 3 | 3 | 39 | 39 | 39 |  | In Service | SS |  | 2040 |  | Existing less Announced Withdrawal | Wind | 1110 |  | 2023-04-01 | 2023-03-30 14:25
SA1 | Existing Plant | Lake Bonney Battery Energy Storage | Lake Bonney BESS Pty Limited | Storage - Battery | Other - Other | LBBG1 | 1 |  | 25 |  | 25 | 25 | 52 | In Service | S |  | 2034 |  | Existing less Announced Withdrawal | Battery Storage | 1568 |  | 2023-04-01 | 2023-04-05 13:32
SA1 | Project | Leigh Creek Energy Project | Leigh Creek Energy | Turbine - Steam Sub Critical | Other - Other |  | 1 | 45 | 45 | 45 | 45 | 45 |  | Publicly Announced | NS |  |  |  | Proposed | Gas other | 1534 |  | 2023-04-01 | 2018-05-24 06:25
SA1 | Project | Lincoln Gap Wind Farm - BESS | Lincoln Gap Wind Farm Pty Ltd | Storage - Battery | Other - Other | LGAPWF1 | 1 | 0 | 10 | 0 | 10 | 10 | 10 | Anticipated | S | 2024-06-01 | 2045 |  | Anticipated | Battery Storage | 1603 |  | 2023-05-23 | 2023-06-20 10:17
SA1 | Existing Plant | Lincoln Gap Wind Farm - stage 1 | Lincoln Gap Wind Farm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LGAPWF1 | 35 | 3.6 | 3.6 | 126 | 126 | 126 | 0 | In Service | SS | 2020-08-01 | 2045 |  | Existing less Announced Withdrawal | Wind | 1119 | S00007 | 2023-04-01 | 2023-03-30 14:47
SA1 | Existing Plant | Lincoln Gap Wind Farm - Stage 2 | Lincoln Gap Wind Farm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | LGAPWF2 | 24 | 3.6 | 3.6 | 86.4 | 86.4 | 86.4 |  | In Service | SS | 2022-02-01 | 2045 |  | Existing less Announced Withdrawal | Wind | 1574 | S00007 | 2023-04-01 | 2023-04-05 13:39
SA1 | Project | Lincoln Gap Wind Farm stage 3 | Nexif RATCH Energy Australia Pty Ltd | Wind Turbine - Onshore | Wind - Wind |  | 42 | 0 | 7.8 | 0 | 327.6 | 327.6 |  | Publicly Announced | SS |  | 2055 |  | Proposed | Wind | 1885 | S00005 | 2023-05-23 | 2023-06-21 08:26
SA1 | Project | Lionsgate Battery | CEP Energy | Storage - Battery | Other - Other |  | 1 | 150 | 150 | 150 | 150 | 150 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2416 |  | 2023-04-01 | 2023-03-01 13:14
SA1 | Existing Plant | Lonsdale | Lumo Generation SA Pty Ltd | Reciprocating Engine - Compression ignition | Fossil - Diesel | LONSDALE | 18 |  | 1.15 |  | 20.7 | 20.7 |  | In Service | S |  | 2070 |  | Existing less Announced Withdrawal | Other | 1122 |  | 2023-04-01 | 2023-04-03 11:56
SA1 | Existing Plant | Mannum Adelaide Pumping Station No 2 - MAPL2 (Palmer) | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MAPS2PV1 | 6 |  | 2.8 |  | 16.8 | 16.8 |  | In Service | SS | 2022-05-01 | 2041 |  | Existing less Announced Withdrawal | Solar | 1847 | S00010 | 2023-04-01 | 2023-04-06 11:25
SA1 | Existing Plant | Mannum Adelaide Pumping Station No 3 - MAPL3 (Tungkillo) | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MAPS3PV1 | 6 |  | 2.06 |  | 12.36 | 12.36 |  | In Service | SS | 2023-01-01 | 2041 |  | Existing less Announced Withdrawal | Solar | 2010 | S00011 | 2023-04-01 | 2023-04-12 10:16
SA1 | Project | Mannum BESS | Canadian Solar (Australia) Pty Ltd | Storage - Battery | Other - Other |  | 1 |  | 100 |  | 100 | 100 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2256 | S00016 | 2023-04-01 | 2022-12-08 09:04
SA1 | Existing Plant | Mannum Solar Farm | Mannum Solar Farm Pty Ltd | Solar PV - Single axis tracking | Solar - Solar |  | 1 | 0 | 4.95 | 0 | 4.95 | 4.95 |  | In Service | NS | 2019-12-01 | 2054 |  | Existing less Announced Withdrawal | Solar | 1722 |  | 2022-12-01 | 2023-02-24 09:38
SA1 | Project | Mannum Solar Farm 2 | Mannum Stage 2 SubCo Pty Ltd as trustee for the Mannum Stage 2 Unit Trust | Solar PV - Single axis tracking | Solar - Solar | MANSF2 | 11 |  | 2.73 |  | 29.99 | 29.99 |  | Committed* | SS | 2023-10-01 | 2058 |  | Committed | Solar | 2410 |  | 2023-05-23 | 2023-06-20 15:23
SA1 | Project | Middleback Ranges Pumped Hydro | Zen Energy | Storage - Pumped hydro | Hydro - Water |  | 1 |  | 90 |  | 90 | 90 | 390 | Publicly Announced | S |  |  |  | Proposed | Water | 2061 |  | 2023-04-01 | 2022-09-20 16:30
SA1 | Existing Plant | Mintaro GT | Synergen Power Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline | MINTARO | 1 |  | 90 |  | 90 | 90 |  | In Service | S |  | 2030 |  | Existing less Announced Withdrawal | OCGT | 1135 |  | 2023-04-01 | 2023-04-03 12:02
SA1 | Project | Mobilong BESS | EW Technology Australia Pty Ltd | Storage - Battery | Other |  | 1 |  | 100 |  | 100 | 100 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2552 | S00043 |  | 2023-07-04 13:08
SA1 | Project | Monash Solar Farm - KCI | 1265 Warnecke Rd Pty Ltd | Solar PV - Fixed | Solar - Solar |  | 1 | 100 | 100 | 100 | 100 | 100 |  | Publicly Announced | TBA |  |  |  | Proposed | Solar | 2366 | S00001 | 2023-04-01 | 2023-01-18 20:06
SA1 | Project | Morgan Battery | Origin Energy | Storage - Battery | Other - Other |  | 1 | 30 | 30 | 30 | 30 | 30 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2417 |  | 2023-04-01 | 2023-03-01 13:22
SA1 | Project | Morgan Solar | Green Gold | Solar PV - Fixed | Solar |  | 1 |  | 1 |  | 1 | 1 |  | Publicly Announced | TBA |  |  |  | Proposed | Solar | 2548 | S00037 |  | 2023-07-04 12:13
SA1 | Existing Plant | Morgan To Whyalla Pipeline No 1 PS And Water Filtration Plant | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS1PV1 | 2 |  | 3.06 |  | 6.12 | 6.12 |  | In Service | SS | 2022-08-01 | 2031 |  | Existing less Announced Withdrawal | Solar | 1849 |  | 2023-04-01 | 2023-04-06 11:27
SA1 | Existing Plant | Morgan To Whyalla Pipeline No 2 PS | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS2PV1 | 2 |  | 2.94 |  | 5.88 | 5.88 |  | In Service | SS | 2022-06-01 | 2041 |  | Existing less Announced Withdrawal | Solar | 1850 |  | 2023-04-01 | 2023-04-06 11:29
SA1 | Existing Plant | Morgan To Whyalla Pipeline No 3 PS | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS3PV1 | 3 |  | 2.46 |  | 7.38 | 7.38 |  | In Service | SS | 2022-06-01 | 2045 |  | Existing less Announced Withdrawal | Solar | 1851 |  | 2023-04-01 | 2023-04-06 11:31
SA1 | Existing Plant | Morgan To Whyalla Pipeline No 4 PS | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MWPS4PV1 | 2 |  | 2.94 |  | 5.88 | 5.88 |  | In Service | SS | 2022-08-01 | 2041 |  | Existing less Announced Withdrawal | Solar | 1852 |  | 2023-04-01 | 2023-04-06 11:34
SA1 | Existing Plant | Mt Millar Wind Farm | MT MILLAR WIND FARM PTY LTD | Wind Turbine - Onshore | Wind - Wind | MTMILLAR | 35 |  | 2.07 |  | 72.28 | 72.28 |  | In Service | NS |  | 2035 |  | Existing less Announced Withdrawal | Wind | 1143 |  | 2023-04-01 | 2023-04-18 18:07
SA1 | Existing Plant | Murray Bridge - Onkaparinga Pipeline Pump 2 | South Australian Water Corporation | Solar PV - Single axis tracking | Solar - Solar | MBPS2PV1 | 6 |  | 2.29 |  | 13.74 | 13.74 |  | In Service | SS | 2022-08-01 | 2041 |  | Existing less Announced Withdrawal | Solar | 1853 |  | 2023-04-01 | 2023-04-06 11:37
SA1 | Existing Plant | NAWMA Balefill Site Uleybury | LMS Energy | Solar PV - Fixed | Solar - Solar |  | 46 |  | 0.03 |  | 1.15 | 1.15 |  | In Service | NS |  | 2037 |  | Existing less Announced Withdrawal | Solar | 1544 |  | 2021-04-01 | 2022-05-04 12:06
SA1 | Existing Plant | NAWMA Balefill Site Uleybury | LMS Energy | Reciprocating Engine - Compression ignition | Renewable Biomass or Waste - Landfill Gas |  | 1 |  | 1.12 |  | 1.12 | 1.12 |  | In Service | NS |  | 2037 |  | Existing less Announced Withdrawal | Biomass | 1544 |  | 2021-04-01 | 2022-05-04 12:06
SA1 | Project | North West Bend Substation Solar | North West Bend Solar Project Pty Ltd | Solar PV - Fixed | Solar - Solar |  | 1 | 147 | 147 | 147 | 147 | 147 |  | Publicly Announced | TBA |  |  |  | Proposed | Solar | 2308 | S00014 | 2023-04-01 | 2023-01-19 06:35
SA1 | Existing Plant | Osborne | Osborne Cogeneration Pty Ltd | Turbine - CCGT | Fossil - Natural Gas Pipeline | OSB-AG | 1 |  | 118 |  | 118 | 118 |  | In Service | S |  | 2026 |  | Existing less Announced Withdrawal | CCGT | 1154 |  | 2023-05-23 | 2023-04-03 16:38
SA1 | Existing Plant | Osborne | Osborne Cogeneration Pty Ltd | Turbine - CCGT | Fossil - Natural Gas Pipeline | OSB-AG | 1 |  | 62 |  | 62 | 62 |  | In Service | S |  | 2026 |  | Existing less Announced Withdrawal | CCGT | 1154 |  | 2023-05-23 | 2023-04-03 16:38
SA1 | Project | Pacific Green Energy Park - Limestone Coast North | Pacific Green | Storage - Battery | Other |  | 1 |  | 250 |  | 250 | 250 | 500 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2522 | S00045 |  | 2023-07-04 17:41
SA1 | Project | Pacific Green Energy Park - Limestone Coast West | Pacific Green | Storage - Battery | Other |  | 1 |  | 250 |  | 250 | 250 | 500 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2523 | S00045 |  | 2023-07-04 17:41
SA1 | Project | Pallamana Solar Farm | RES Australia Pty Ltd | Solar PV - Fixed | Solar - Solar |  | 1 |  | 176 |  | 176 | 176 |  | Publicly Announced | SS |  |  |  | Proposed | Solar | 2052 |  | 2023-04-01 | 2022-09-20 15:18
SA1 | Project | Palmer Wind Farm | Tilt Renewables Australia Pty Ltd | Wind Turbine - Onshore | Wind - Wind |  | 49 | 6 | 6 | 294 | 294 | 294 |  | Publicly Announced | SS |  |  |  | Proposed | Wind | 1337 |  | 2023-05-23 | 2023-06-20 09:24
SA1 | Project | Para Substation/Gould Creek BESS | Maoneng Australia Pty Ltd | Storage - Battery | Other - Other |  | 1 |  | 225 |  | 225 | 225 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2259 | S00013 | 2023-04-01 | 2022-12-08 09:27
SA1 | Existing Plant | Pelican Point | Pelican Point Power Limited | Turbine - CCGT | Fossil - Natural Gas Pipeline | PPCCGT | 2 |  | 179 |  | 358 | 358 |  | In Service | S |  | 2037 |  | Existing less Announced Withdrawal | CCGT | 1158 |  | 2023-04-01 | 2023-06-09 11:50
SA1 | Existing Plant | Pelican Point | Pelican Point Power Limited | Turbine - CCGT | Fossil - Natural Gas Pipeline | PPCCGT | 1 | 0 | 171 | 0 | 171 | 171 |  | In Service | S |  | 2037 |  | Existing less Announced Withdrawal | CCGT | 1158 |  | 2023-04-01 | 2023-06-09 11:50
SA1 | Project | Penfield BESS | BESS PENFIELD PTY LTD | Storage - Battery | Other - Other |  | 1 | 20 | 20 | 20 | 20 | 20 | 40 | Publicly Announced | S |  | 2037 |  | Proposed | Battery Storage | 1930 |  | 2023-05-23 | 2023-02-07 20:04
SA1 | Existing Plant | Peterborough Solar Farm | Renew Power Group Pty Ltd | Solar PV - Single axis tracking | Solar - Solar |  | 2 | 2.45 | 2.45 | 4.9 | 4.9 | 4.9 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 1535 |  | 2022-09-01 | 2018-05-27 22:59
SA1 | Project | Planet Ark Power and Schneider Electric - PV and Battery Microgrid | Planet Ark Power and Schneider Electric | Solar PV - Fixed | Solar - Solar |  | 1 | 5.7 | 5.7 | 5.7 | 5.7 | 5.7 |  | Publicly Announced | NS |  |  |  | Proposed | Solar | 1665 |  | 2022-09-01 | 2018-07-12 02:06
SA1 | Project | Playford Battery | CFG | Storage - Battery | Other - Other |  | 1 | 100 | 100 | 100 | 100 | 100 | 100 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2419 |  | 2023-04-01 | 2023-03-01 13:39
SA1 | Existing Plant | Port Augusta Renewable Energy Park - Solar | PAREP 1 Pty Ltd | Solar PV - Fixed | Solar - Solar | PAREPS1 | 36 | 2.2 | 2.2 | 79.2 | 79.2 | 79.2 |  | In Service | SS | 2023-01-01 | 2047 |  | Existing less Announced Withdrawal | Solar | 1392 | S00025 | 2023-04-01 | 2023-04-04 14:30
SA1 | Existing Plant | Port Augusta Renewable Energy Park - Wind | PAREP 1 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | PAREPW1 | 50 | 4.2 | 4.2 | 210 | 210 | 210 |  | In Service | SS |  | 2052 |  | Existing less Announced Withdrawal | Wind | 1375 |  | 2023-04-01 | 2023-04-04 14:24
SA1 | Existing Plant | Port Lincoln GT | Synergen Power Pty Ltd | Turbine - OCGT | Fossil - Diesel | POR01 | 2 |  | 25 |  | 50 | 50 |  | In Service | S |  | 2030 |  | Existing less Announced Withdrawal | OCGT | 1163 |  | 2023-04-01 | 2023-04-04 11:44
SA1 | Existing Plant | Port Lincoln GT | Synergen Power Pty Ltd | Turbine - OCGT | Fossil - Diesel | POR03 | 1 |  | 23.5 |  | 23.5 | 23.5 |  | In Service | S |  | 2030 |  | Existing less Announced Withdrawal | OCGT | 1163 |  | 2023-04-01 | 2023-04-04 11:44
SA1 | Project | Port Pirie Solar Farm - KCI | Trafigura Hydrogen Australia | Solar PV - Fixed | Solar - Solar |  | 1 | 300 | 300 | 300 | 300 | 300 |  | Publicly Announced | TBA |  |  |  | Proposed | Solar | 2309 | S00024 | 2023-04-01 | 2023-01-19 06:39
SA1 | Existing Plant | Port Stanvac 1 | Snowy Hydro Ltd | Reciprocating Engine - Compression ignition | Fossil - Diesel | PTSTAN1 | 36 |  | 1.3 |  | 46.8 | 46.8 |  | In Service | S |  | 2070 |  | Existing less Announced Withdrawal | Other | 1391 |  | 2023-04-01 | 2023-05-31 14:26
SA1 | Existing Plant | Quarantine | Origin Energy Power Limited | Turbine - OCGT | Fossil - Natural Gas Pipeline | QPS1 | 1 | 0 | 29 | 0 | 29 | 29 |  | In Service | S |  | 2053 |  | Existing less Announced Withdrawal | OCGT | 1166 |  | 2023-05-23 | 2023-06-26 18:57
SA1 | Existing Plant | Quarantine | Origin Energy Power Limited | Turbine - OCGT | Fossil - Natural Gas Pipeline | QPS2 | 1 | 0 | 24 | 0 | 24 | 24 |  | In Service | S |  | 2054 |  | Existing less Announced Withdrawal | OCGT | 1166 |  | 2023-05-23 | 2023-06-26 18:57
SA1 | Existing Plant | Quarantine | Origin Energy Power Limited | Turbine - OCGT | Fossil - Natural Gas Pipeline | QPS3 | 1 | 0 | 29 | 0 | 29 | 29 |  | In Service | S |  | 2054 |  | Existing less Announced Withdrawal | OCGT | 1166 |  | 2023-05-23 | 2023-06-26 18:57
SA1 | Existing Plant | Quarantine | Origin Energy Power Limited | Turbine - OCGT | Fossil - Natural Gas Pipeline | QPS4 | 1 | 0 | 24 | 0 | 24 | 24 |  | In Service | S |  | 2055 |  | Existing less Announced Withdrawal | OCGT | 1166 |  | 2023-05-23 | 2023-06-26 18:57
SA1 | Existing Plant | Quarantine | Origin Energy Power Limited | Turbine - OCGT | Fossil - Natural Gas Pipeline | QPS5 | 1 | 0 | 128 | 0 | 128 | 128 |  | In Service | S |  | 2044 |  | Existing less Announced Withdrawal | OCGT | 1166 |  | 2023-05-23 | 2023-06-26 18:57
SA1 | Project | Quarantine | Origin Energy Power Limited | Turbine - OCGT | Fossil - Natural Gas Pipeline |  | 1 | 165 | 165 | 165 | 165 | 165 |  | Publicly Announced | S |  |  |  | Proposed | OCGT | 1166 |  | 2023-05-23 | 2023-06-26 18:57
SA1 | Existing Plant | Redmud Green Energy 10 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.21 |  | 0.21 | 0.21 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2105 |  |  | 2022-09-27 08:44
SA1 | Existing Plant | Redmud Green Energy 11 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.21 |  | 0.21 | 0.21 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2106 |  |  | 2022-09-27 08:50
SA1 | Existing Plant | Redmud Green Energy 12 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.21 |  | 0.21 | 0.21 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2107 |  |  | 2022-09-27 08:55
SA1 | Existing Plant | Redmud Green Energy 13 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.21 |  | 0.21 | 0.21 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2108 |  |  | 2022-09-27 09:00
SA1 | Existing Plant | Redmud Green Energy 14 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.21 |  | 0.21 | 0.21 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2109 |  |  | 2022-09-27 09:39
SA1 | Existing Plant | Redmud Green Energy 4 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.6 |  | 0.6 | 0.6 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2110 |  |  | 2022-09-27 09:43
SA1 | Existing Plant | Redmud Green Energy 5 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.21 |  | 0.21 | 0.21 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2111 |  |  | 2022-09-27 10:05
SA1 | Existing Plant | Redmud Green Energy 6 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.21 |  | 0.21 | 0.21 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2112 |  |  | 2022-09-27 10:09
SA1 | Existing Plant | Redmud Green Energy 7 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.21 |  | 0.21 | 0.21 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2113 |  |  | 2022-09-27 10:13
SA1 | Existing Plant | Redmud Green Energy 8 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.21 |  | 0.21 | 0.21 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2114 |  |  | 2022-09-27 10:17
SA1 | Existing Plant | Redmud Green Energy 9 | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.21 |  | 0.21 | 0.21 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2115 |  |  | 2022-09-27 10:22
SA1 | Project | Reeves Plains OCGT - stage 1 | Alinta Energy Reeves Plains Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline |  | 1 | 150 | 150 | 150 | 150 | 150 |  | Publicly Announced | S |  |  |  | Proposed | OCGT | 1522 |  | 2023-05-23 | 2023-06-20 10:10
SA1 | Project | Reeves Plains OCGT - stage 2 | Alinta Energy Reeves Plains Pty Ltd | Turbine - OCGT | Fossil - Natural Gas Pipeline |  | 1 | 150 | 150 | 150 | 150 | 150 |  | Publicly Announced | S |  |  |  | Proposed | OCGT | 1523 |  | 2023-05-23 | 2023-06-20 10:12
SA1 | Project | Riverland Solar Storage - Solar | Lyon Solar | Solar PV - Single axis tracking | Solar - Solar |  | 1 | 330 | 330 | 330 | 330 | 330 |  | Publicly Announced | SS |  |  |  | Proposed | Solar | 1410 |  | 2023-04-01 | 2018-07-31 01:28
SA1 | Project | Riverland Solar Storage - Storage | Lyon Solar | Storage - Battery | Other - Other |  | 1 |  | 100 |  | 100 | 100 | 0 | Publicly Announced | S |  |  |  | Proposed | Battery Storage | 2053 |  | 2023-04-01 | 2022-09-20 15:26
SA1 | Existing Plant | RMGE94 | The Trustee for Dale Calderbank Investment Trust & The Trustee for Mark Yates Family Trust | Solar PV - Fixed | Solar - Solar |  | 1 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 |  | In Service | NS | 2022-09-01 | 2050 |  | Existing less Announced Withdrawal | Solar | 1548 |  | 2022-09-01 | 2023-02-24 09:46
SA1 | Project | Robertstown Solar Farm | AMP | Solar PV - Fixed | Solar |  | 1 |  | 1 |  | 1 | 1 |  | Publicly Announced | TBA |  |  |  | Proposed | Solar | 2549 | S00038 |  | 2023-07-04 12:19
SA1 | Existing Plant | SA Aquatic & Leasure Centre | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.51 |  | 0.51 | 0.51 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2117 |  |  | 2022-09-27 10:45
SA1 | Existing Plant | Seacliff Mini Hydro | SA Water | Hydro - Other | Hydro - Water |  | 1 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 |  | In Service | NS |  | 2053 |  | Existing less Announced Withdrawal | Water | 1546 |  | 2022-09-01 | 2023-04-13 13:49
SA1 | Existing Plant | Seaford Renewable Energy Facility | LMS_NR | Reciprocating Engine - Spark ignition | Renewable Biomass or Waste - Landfill Gas |  | 3 |  | 1.06 |  | 3.18 | 3.18 |  | In Service | NS |  | 2042 |  | Existing less Announced Withdrawal | Biomass | 2165 |  |  | 2023-02-24 10:09
SA1 | Existing Plant | Seaford Renewable Energy Facility | LMS_NR | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.6 |  | 0.6 | 0.6 |  | In Service | NS |  | 2042 |  | Existing less Announced Withdrawal | Solar | 2165 |  |  | 2023-02-24 10:09
SA1 | Existing Plant | Snapper Point Power Station | Port Adelaide Energy Pty Ltd | Turbine - OCGT | Fossil - Diesel | SNAPPER1 | 5 |  | 30.8 |  | 154 | 154 |  | In Service | S | 2022-06-01 | 2046 |  | Existing less Announced Withdrawal | OCGT | 1532 |  | 2023-04-01 | 2023-04-05 11:39
SA1 | Project | Snowtown North Solar Farm | Tilt Renewables | Solar PV - Fixed | Solar - Solar |  | 11 | 4 | 4 | 44 | 44 | 44 | 0 | Publicly Announced | SS |  |  |  | Proposed | Solar | 1486 |  | 2023-04-01 | 2022-04-28 14:57
SA1 | Project | Snowtown North Solar Farm - BESS | Tilt Renewables | Storage - Battery | Other - Other |  | 1 | 0 | 20 | 0 | 20 | 20 | 40 | Publicly Announced | S |  |  |  | Proposed | Battery Storage | 1600 |  | 2023-04-01 | 2023-02-24 09:59
SA1 | Existing Plant | Snowtown S2 Wind Farm | Snowtown Wind Farm Stage 2 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | SNOWNTH1 | 48 |  | 3 |  | 144 | 144 |  | In Service | SS |  | 2039 |  | Existing less Announced Withdrawal | Wind | 1181 |  | 2023-05-23 | 2023-06-20 08:26
SA1 | Existing Plant | Snowtown S2 Wind Farm | Snowtown Wind Farm Stage 2 Pty Ltd | Wind Turbine - Onshore | Wind - Wind | SNOWSTH1 | 42 |  | 3 |  | 126 | 126 |  | In Service | SS |  | 2039 |  | Existing less Announced Withdrawal | Wind | 1181 |  | 2023-05-23 | 2023-06-20 08:26
SA1 | Existing Plant | Snowtown Wind Farm | Snowtown Wind Farm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | SNOWTWN1 | 47 |  | 2.1 |  | 98.7 | 98.7 |  | In Service | SS |  | 2033 |  | Existing less Announced Withdrawal | Wind | 1180 |  | 2023-04-01 | 2023-05-31 13:04
SA1 | Existing Plant | Snuggery | Synergen Power Pty Ltd | Turbine - OCGT | Fossil - Diesel | SNUG1 | 3 |  | 21 |  | 63 | 63 |  | In Service | S |  | 2030 |  | Existing less Announced Withdrawal | OCGT | 1182 |  | 2023-04-01 | 2023-04-04 11:57
SA1 | Existing Plant | Snuggery | Synergen Power Pty Ltd | Turbine - OCGT | Fossil - Diesel | SNUGNL1 | 1 |  | 21 |  | 21 | 21 |  | In Service | NS |  | 2030 |  | Existing less Announced Withdrawal | OCGT | 1182 |  | 2023-04-01 | 2023-04-04 11:57
SA1 | Project | Solar River Solar And BESS Project | Zen Energy Retail Pty Ltd | Solar PV - Fixed | Solar |  | 1 |  | 256 |  | 256 | 256 |  | Publicly Announced | TBA |  |  |  | Proposed | Solar | 2550 | S00041 |  | 2023-07-04 12:25
SA1 | Project | South East BESS - Storage - KCI | Equis Energy (Australia) Projects (Ngumi 8) Pty Ltd as trustee for the Equis Energy(Australia) Ngumi 8 Asset Trust | Storage - Battery | Other - Other |  | 1 | 200 | 200 | 200 | 200 | 200 | 400 | Publicly Announced | S |  |  |  | Proposed | Battery Storage | 2387 | S00033 | 2023-04-01 | 2023-04-11 15:26
SA1 | Project | SSE Whyalla Solar Farm | SSE Australia Pty Ltd | Solar PV - Single axis tracking | Solar - Solar |  | 180 | 0.03 | 0.03 | 5.4 | 5.4 | 5.4 | 0 | Publicly Announced | NS |  |  |  | Proposed | Solar | 1558 |  | 2022-09-01 | 2022-04-28 15:57
SA1 | Existing Plant | Starfish Hill | Ratch Australia | Wind Turbine - Onshore | Wind - Wind | STARHLWF | 22 |  | 1.5 |  | 33 | 33 |  | In Service | NS |  | 2027 |  | Existing less Announced Withdrawal | Wind | 1186 |  | 2023-04-01 | 2023-04-18 18:10
SA1 | Project | Summerfield BESS - KCI | CI SUMMERFIELD BESS PTY LTD AS TRUSTEE FOR THE CI SUMMERFIELD BESS TRUST | Storage - Battery | Other - Other |  | 1 | 120 | 150 | 120 | 150 | 150 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2310 | S00022 | 2023-04-01 | 2023-01-19 07:09
SA1 | Existing Plant | Tailem Bend - Solar | Vena Energy | Solar PV - Fixed | Solar - Solar | TBSF1 | 1 | 108 | 108 | 108 | 108 | 108 |  | In Service | SS | 2019-04-01 | 2049 |  | Existing less Announced Withdrawal | Solar | 1397 |  | 2023-04-01 | 2023-03-31 15:29
SA1 | Project | Tailem Bend Battery Project | Vena Energy | Storage - Battery | Other - Other | TB2BG1 | 1 |  | 41.5 |  | 41.5 | 41.5 | 84 | Committed | S | 2024-01-01 | 2048 |  | Committed | Battery Storage | 1735 | S00023 | 2023-05-23 | 2023-06-26 19:22
SA1 | Existing Plant | Tailem Bend Stage 2 Solar Project | Vena Energy | Solar PV - Single axis tracking | Solar - Solar | TB2SF1 | 1 |  | 105 |  | 105 | 105 |  | In Commissioning | SS | 2023-09-01 | 2053 |  | Existing less Announced Withdrawal | Solar | 1575 |  | 2023-05-23 | 2023-06-26 19:06
SA1 | Project | Tailem Bend Stage 3 | TBSOL | Storage - Battery | Other - Other |  | 1 |  | 204 |  | 204 | 204 | 408 | Publicly Announced | S |  |  |  | Proposed | Battery Storage | 2436 |  | 2023-05-23 | 2023-04-17 10:05
SA1 | Existing Plant | Tatiara Meats | Vibe Energy Pty Ltd | Reciprocating Engine - Compression ignition | Fossil - Diesel | TATIARA1 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Other | 1295 |  | 2022-03-01 | 2023-02-24 09:43
SA1 | Project | Templers BESS | ZEN Energy Future Pty Ltd | Storage - Battery | Other - Other |  | 1 | 111 | 111 | 111 | 111 | 111 | 291 | Anticipated | S |  |  |  | Anticipated | Battery Storage | 1911 | S00017 | 2023-05-23 | 2023-06-30 15:21
SA1 | Existing Plant | Terminal Storage Mini Hydro | South Australian Water Corporation | Hydro - Other | Hydro - Water | TERMSTOR | 1 | 1.86 | 1.86 | 1.86 | 1.86 | 1.86 |  | In Service | NS |  | 2043 |  | Existing less Announced Withdrawal | Water | 1204 |  | 2022-09-01 | 2023-04-13 10:20
SA1 | Project | The Solar River Project - Stage 1 | The Solar River Project Pty Ltd | Solar PV - Fixed | Solar - Solar |  | 1 |  | 200 |  | 200 | 200 |  | Publicly Announced | SS |  |  |  | Proposed | Solar | 2054 |  | 2023-04-01 | 2022-09-20 15:33
SA1 | Project | The Solar River Project - Stage 2 | The Solar River Project Pty Ltd | Solar PV - Fixed | Solar - Solar |  | 1 |  | 200 |  | 200 | 200 |  | Publicly Announced | SS |  |  |  | Proposed | Solar | 2055 |  | 2023-04-01 | 2022-09-20 15:39
SA1 | Existing Plant | Torrens Island A | AGL SA Generation Pty Limited | Turbine - Steam Sub Critical | Fossil - Natural Gas Pipeline | TORRA3 | 1 | 0 | 120 | 0 | 120 | 120 |  | Withdrawn - Permanent | S |  | 2022 | 2022-09-30 | Withdrawn | Gas other | 1209 |  | 2022-03-01 | 2023-04-13 15:32
SA1 | Existing Plant | Torrens Island B | AGL SA Generation Pty Limited | Turbine - Steam Sub Critical | Fossil - Natural Gas Pipeline | TORRB1 | 1 | 0 | 200 | 0 | 200 | 200 |  | In Service - Announced Withdrawal (Permanent) | S |  | 2026 |  | Announced Withdrawal | Gas other | 1210 |  | 2023-04-01 | 2023-04-06 09:34
SA1 | Existing Plant | Torrens Island B | AGL SA Generation Pty Limited | Turbine - Steam Sub Critical | Fossil - Natural Gas Pipeline | TORRB2 | 1 | 0 | 200 | 0 | 200 | 200 |  | In Service - Announced Withdrawal (Permanent) | S |  | 2026 |  | Announced Withdrawal | Gas other | 1210 |  | 2023-04-01 | 2023-04-06 09:34
SA1 | Existing Plant | Torrens Island B | AGL SA Generation Pty Limited | Turbine - Steam Sub Critical | Fossil - Natural Gas Pipeline | TORRB3 | 1 | 0 | 200 | 0 | 200 | 200 |  | In Service - Announced Withdrawal (Permanent) | S |  | 2026 |  | Announced Withdrawal | Gas other | 1210 |  | 2023-04-01 | 2023-04-06 09:34
SA1 | Existing Plant | Torrens Island B | AGL SA Generation Pty Limited | Turbine - Steam Sub Critical | Fossil - Natural Gas Pipeline | TORRB4 | 1 | 0 | 200 | 0 | 200 | 200 |  | In Service - Announced Withdrawal (Permanent) | S |  | 2026 |  | Announced Withdrawal | Gas other | 1210 |  | 2023-04-01 | 2023-04-06 09:34
SA1 | Existing Plant | Torrens Island BESS | TIPSCO | Storage - Battery | Other - Other | TIBG1 / TIPL1 | 109 |  | 2.3 |  | 250.7 | 250.7 | 250 | In Commissioning | S | 2023-08-01 | 2043 |  | Existing less Announced Withdrawal | Battery Storage | 1866 | S00008 | 2023-05-23 | 2023-06-21 08:38
SA1 | Project | Twin Creek Wind Farm | RES Australia Pty Ltd | Wind Turbine - Onshore | Wind - Wind |  | 42 | 3.6 | 6.6 | 151.2 | 277.2 | 151.20 - 277.20 | 0 | Publicly Announced | SS |  |  |  | Proposed | Wind | 1995 |  | 2023-05-23 | 2022-04-28 15:05
SA1 | Project | UniSA Solar project | University of South Australia | Solar PV - Fixed | Solar - Solar |  | 1 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 |  | Publicly Announced | NS |  |  |  | Proposed | Solar | 1666 |  | 2022-09-01 | 2018-07-12 02:12
SA1 | Project | Vast Solar1 Pty Ltd - KCI | Vast Solar 1 Pty Ltd | Storage - Battery | Other - Other |  | 1 | 34 | 34 | 34 | 34 | 34 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2312 | S00027 | 2023-04-01 | 2023-01-19 07:17
SA1 | Project | Vast Solar1 Pty Ltd - Thermal - KCI | Vast Solar 1 Pty Ltd | Turbine - Other | Other - Other |  | 1 | 34 | 34 | 34 | 34 | 34 |  | Publicly Announced | TBA |  |  |  | Proposed | Other | 2311 | S00027 | 2023-04-01 | 2023-01-19 07:18
SA1 | Project | VS1 Solar Farm | Vast Solar 1 Pty Ltd | Solar Thermal - Central collector | Solar |  | 1 |  | 34 |  | 34 | 34 |  | Publicly Announced | TBA |  |  |  | Proposed | Solar | 2553 | S00046 |  | 2023-07-04 13:15
SA1 | Existing Plant | Waterloo Wind Farm | Waterloo Windfarm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WATERLWF | 37 |  | 3 |  | 111 | 111 |  | In Service | SS |  | 2045 |  | Existing less Announced Withdrawal | Wind | 1223 |  | 2023-04-01 | 2023-06-23 11:53
SA1 | Existing Plant | Waterloo Wind Farm | Waterloo Windfarm Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WATERLWF | 6 |  | 3.3 |  | 19.8 | 19.8 |  | In Service | SS |  | 2051 |  | Existing less Announced Withdrawal | Wind | 1223 |  | 2023-04-01 | 2023-06-23 11:53
SA1 | Existing Plant | Wattle Point | Infrastructure Capital Group | Wind Turbine - Onshore | Wind - Wind | WPWF | 55 | 1.65 | 1.65 | 90.75 | 90.75 | 90.75 |  | In Service | NS |  | 2029 |  | Existing less Announced Withdrawal | Wind | 1224 |  | 2023-04-01 | 2023-06-06 19:31
SA1 | Project | Whyalla | Adani | Solar PV - Fixed | Solar - Solar |  | 1 | 140 | 140 | 140 | 140 | 140 |  | Publicly Announced | SS |  |  |  | Proposed | Solar | 1460 |  | 2023-04-01 | 2019-01-02 23:22
SA1 | Project | Whyalla BESS - KCI | BESS Kalkallo Pty Ltd | Storage - Battery | Other - Other |  | 1 | 100 | 100 | 100 | 100 | 100 | 0 | Publicly Announced | TBA |  |  |  | Proposed | Battery Storage | 2314 | S00029 | 2023-04-01 | 2023-01-19 07:24
SA1 | Existing Plant | Willogoleche Wind Farm | Willogoleche Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WGWF1 | 24 |  | 3.83 |  | 91.92 | 91.92 |  | In Service | SS | 2019-10-01 | 2043 |  | Existing less Announced Withdrawal | Wind | 1231 |  | 2023-04-01 | 2023-04-04 12:30
SA1 | Existing Plant | Willogoleche Wind Farm | Willogoleche Power Pty Ltd | Wind Turbine - Onshore | Wind - Wind | WGWF1 | 8 |  | 3.43 |  | 27.44 | 27.44 |  | In Service | SS | 2019-10-01 | 2043 |  | Existing less Announced Withdrawal | Wind | 1231 |  | 2023-04-01 | 2023-04-04 12:30
SA1 | Existing Plant | Wingfield 1 | EDL LFG SA Pty Ltd | Reciprocating Engine - Spark ignition | Renewable Biomass or Waste - Landfill Gas |  | 4 |  | 1.03 |  | 4.1 | 4.1 |  | In Service | NS |  | 2035 |  | Existing less Announced Withdrawal | Biomass | 1234 |  | 2022-03-01 | 2023-02-24 09:28
SA1 | Existing Plant | Wingfield 2 | EDL LFG SA Pty Ltd | Reciprocating Engine - Spark ignition | Renewable Biomass or Waste - Landfill Gas |  | 4 |  | 1.03 |  | 4.1 | 4.1 |  | In Service | NS |  | 2030 |  | Existing less Announced Withdrawal | Biomass | 1324 |  | 2022-03-01 | 2023-02-24 09:50
SA1 | Existing Plant | Yalumba Winery Solar system (Angaston) | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 1.14 |  | 1.14 | 1.14 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2155 |  |  | 2022-09-28 14:04
SA1 | Existing Plant | Yalumba Winery Solar system (Oxford Landing) | TBA | Solar PV - Fixed | Solar - Solar |  | 1 |  | 0.2 |  | 0.2 | 0.2 |  | In Service | NS |  |  |  | Existing less Announced Withdrawal | Solar | 2156 |  |  | 2022-09-28 15:39
SA1 | Project | Yorke Peninsula Wind Farm | Senvion Australia | Wind Turbine - Onshore | Wind - Wind |  | 187 | 3.4 | 3.4 | 635.8 | 635.8 | 635.8 |  | Publicly Announced | SS | 2022-11-01 |  |  | Proposed | Wind | 1615 |  | 2023-05-23 | 2023-04-05 14:12
150
25.00 - 100.00
195
749.76
75
BDONGHYD | 19
434
BURRIN | 14
BURRIN | 20
BUTLERSG | 12.2
2.2
CALL_B_1 | 350
CALL_B_2 | 350
CPP_3 | 424
CPP_4 | 420
200
200
450
0.85
500
500
205
CNUNDAWF | 46
1995
70.40 - 134.40
CBESS1 | 100.32
CESF1 | 2
CAPTL_WF | 140.7
324
16
0.09
3.1
74
235.60 - 250.80
118
30
150
150
LI_WY_CA | 38.4
LI_WY_CA | 55.8
LI_WY_CA | 31.5
LI_WY_CA | 27
LI_WY_CA | 24
CATHROCK | 62
CTHLWF1 | 144
0.2
150
400
150
325
CETHANA | 85
750
CHMLBESS | 101.5
52.5
322.4
98.01
CHPSTWF1 | 6.15
CHYTWF1 | 57.6
CHILDSF1 | 64.38
4.77
3.6
100
113.16
8
CBWWBA1G | 2.09
CBWWPV1 | 4.8
0.91
288.12
CLARESF1 | 110.4
200
CLRKCWF1 | 346.5
CLRKCWF2 | 103.5
CLAYTON | 12
102.6
60
CLEMGPWF | 56.7
CLERMSF1 | 92.5
CLOVER | 29
CLUNY | 19
CODRNGTON | 18.2
COHUNSF1 | 31.16
100
COLEASF1 | 150.3
COLWF01 | 226.8
990
2839.2
100
CSPVPS1 | 42.5
CG1 | 181
CG2 | 181
CG3 | 181
CG4 | 181
700
COLUMSF1 | 217.25
CPSA | 87.4
CPSA | 57
CONDONG1 | 30
270
260
100
19.8
4.4
COOPGWF1 | 330.33
COOPGWF1 | 122.56
COPTNHYD | 20
285
2.12
CORIO | 1
CRWASF1 | 36.01
500
150
240
4.8
CROOKWF2 | 96.04
57.6
650
CROWLWF1 | 79.95
Crown Ge | 5.58
CRURWF1 | 141.71
CULLRGWF | 30
357.45
4.94
DALNTH01 | 30
200
DDPS1 | 364.5
DDPS1 | 280
250
250
DDSF1 | 121
DPNTBG1 | 25
DARLSF1 | 274.97
360
80.00 - 100.00
DARTM1 | 185
DAYDSF1 | 167.75
0.23
2970
2968
204.60 - 217.80
150
95.1
150
DEVILS_G | 60
0.1
8
760.00 - 1216.00
444.00 - 666.00
530.00 - 848.00
264.00 - 396.00
200.00 - 400.00
85
0.2
77
DRYCGT1 | 52
DRYCGT2 | 52
DRYCGT3 | 52
1.06
96.99
DULAWF1 | 172.99
188
7.2
DUNDWF1 | 168
DUNDWF2 | 46.2
DUNDWF3 | 121.8
55
150
150
100
100
400
200
100
3.9
EASTCRK | 5.06
6.74
1725
2000
EDENVSF1 | 180
EILDON1 | 60
EILDON1 | 7.5
EILDON2 | 60
EILDON2 | 7.5
EILDON3 | 4.5
78
199.5
150
ELAINWF1 | 83.6
EMERASF1 | 72
40.04 - 61.46
1.76
3
ER01 | 720
ER02 | 720
ER03 | 720
ER04 | 720
460
240
ERGT01 | 41.5
1000
502.33 - 607.75
330
144
8
FNWF1 | 12
200
FINLYSF1 | 162.36
FISHER | 43.2
0.15
145.54
120
90
1200
75.00 - 165.00
FTVBESS | 119
FTVPV | 80.5
30
0.4
350
77
96.6
62.1
GANGARR1 | 162
GANNBG1 | 25.33
GANNSF1 | 55
560
70
232
1012
2990
1012
2001
1012
1012
805
3197
2530
3197
3197
250
150
GERMCRK | 31.81
GERMCRK | 13.2
15
2700
2700
GGSF | 93.48
GSTONE1 | 280
GSTONE2 | 280
GSTONE3 | 280
GSTONE4 | 280
GSTONE5 | 280
GSTONE6 | 280
5
250
200
GLENMAG1 | 1.9
12.78
3.38
1.06
0.6
400
126.5
GLRWNSF1 | 132
290
230
300
756.4
576.6
12
72
GOONSF1 | 69.75
800
GESF1 | 0.17 - 348.60
GORDON | 432
1.6
450
500
200
GSWF1A | 209
GSWF1B | 203.5
GRANGEAV | 1.26
121
GRANWF1 | 111.6
2508
500
2085
1500
200
45
GRIFSF1 | 30
21
15.21
0.17
0.33
525.6
GULLRSF1 | 10
GULLRWF1 | 140
GULLRWF1 | 25.5
GULLRWF2 | 110.67
400
200
70
GNNDHSF1 | 110
238.00 - 294.00
200
GUNNING1 | 30
GUNNING1 | 16.5
94
1186
GUTHEGA | 60
12
HALAMRD1 | 8.98
NBHWF1 | 132.3
BLUFF1 | 52.5
AGLHAL | 68
AGLHAL | 41.5
AGLHAL | 37.8
AGLHAL | 37.2
AGLHAL | 27
AGLHAL | 25.6
AGLHAL | 21.76
AGLHAL | 18
HALLWF1 | 94.5
HALLWF2 | 71.4
150
HAMISF1 | 57.5
HVWABA1G | 4.41
HVWAPV1 | 8.34
240
400
800
27.9
13.95
150
HAUGHT11 | 132.6
300
400
400
96.6
110
HAYMSF1 | 57.75
1100
HBESSG1 | 200.07
480
1
155
1000
763
66.60 - 84.60
300
400
HILLSTN1 | 110
1
11
2480
HPRG1 | 100
HPRG1 | 50
HDWF1 | 102.4
HDWF2 | 102.4
HDWF3 | 112
118.8
HUGSF1 | 20.97
20
74
HUMENSW | 29
HUMEV | 29
1400
20.8
HLMSEW01 | 0.25
425.83
425.83
300
2000
10
2.5
24
22
91.50 - 102.00
38.8
9
2.5
381
25
JGULLY | 2.3
JLA01 | 53
JLA02 | 53
JLA03 | 53
JLA04 | 53
JLB01 | 76
JLB02 | 76
JLB03 | 76
JEMALNG1 | 55
288
0.37
JNDABNE1 | 1.1
250
120.08
0.15
250
JBUTTERS | 144
JOUNAMA1 | 14.4
JUNEESF1 | 36.01
KABANWF1 | 156.8
9
30
150.00 - 155.00
5
KARSF1 | 104.5
102.6
KAREEYA1 | 21.6
KAREEYA2 | 21.6
KAREEYA3 | 21.6
KAREEYA4 | 21.6
KAREEYA5 | 7
1020
KEEPIT | 7.2
50
KEPSF1 | 15
KEPBG1 | 2
KEPWF1 | 43.2
5.00 - 600.00
134.4
147
76.02
53.31
29.9
385
KIAMSF1 | 199.95
150.04
150.04
KiataWF1 | 31.05
250
KSP1 | 50
270
258
204
40
100
8
55
KPP_1 | 744
180
96.8
1200
375
375
LADBROK1 | 40
LADBROK2 | 40
128
LKBONNY1 | 80.5
LKBONNY2 | 159
LKBONNY3 | 39
LBBG1 | 25
LK_ECHO | 32.4
335
8.4
4.3
10.8
73.1
5
400
100
LNGS1 | 156
LNGS2 | 156
45
LEM_WIL | 51
LEM_WIL | 30.6
4.1
LD01 | 500
LD02 | 500
LD04 | 500
500
LILYSF1 | 118.4
50
LIMONSF1 | 230
LIMOSF21 | 28.98
LGAPWF1 | 10
LGAPWF1 | 126
LGAPWF2 | 86.4
327.6
150
100
350
279
1338
0.34
0.79
750
87.00 - 117.00
400
400
LONGFORD | 14
LONGFORD | 13
LONGFORD | 2.6
LRSF1 | 14
LONSDALE | 20.7
341
400
42
3.2
200
300
LYA1 | 560
LYA2 | 530
LYA3 | 560
LYA4 | 560
LOYYB1 | 580
LOYYB2 | 580
LUCAS2S2 | 17.25
3.09
2.3
200
MACARTH1 | 420
486.00 - 923.40
MACKNTSH | 79.9
5
3
150
530.00 - 848.00
350
MANSLR1 | 50
MAPS2PV1 | 16.8
MAPS3PV1 | 12.36
100
4.95
MANSF2 | 29.99
350
200
7.2
250.00 - 450.00
250.00 - 350.00
4
3.5
MARYRSF1 | 34.5
125
132.00 - 165.00
0.2
60
120.05
104
25
130
0.26
1.06
180
MEADOWBK | 40
1200
350
399
338
309.12
550
400
METZSF1 | 135
88
90
319.98
279.93
MIDDLSF1 | 26
0.51
6
9.6
500
500
200
MPP_1 | 426
MPP_2 | 426
400
MINTARO | 90
60
415
36.01
36.01
100
46
MOLNGSF1 | 36.08
99
70
100
100
230
400
400
MOORAWF1 | 312
5
120
200
12.56
MBAHNTH | 63.84
0.21
MOREESF1 | 56
30
1
MWPS1PV1 | 6.12
MWPS2PV1 | 5.88
MWPS3PV1 | 7.38
MWPS4PV1 | 5.88
240
MORNW | 0.79
MORTLK11 | 292
MORTLK12 | 292
200
300
333.64
MRTLSWF1 | 157.5
MLWF1 | 19.5
230
66.00 - 82.50
MEWF1 | 180.52
340.00 - 459.00
330
630
2.3
0.3
365
0.36
MOUSF1 | 99
20
20
40
7.6
300
342
MTGELWF1 | 138.6
MERCER01 | 131.2
MTMILLAR | 72.28
MP1 | 730
MP2 | 660
30
499.8
1000
MSTUART1 | 146
MSTUART2 | 146
MSTUART3 | 131.5
9
24.89
154
MUWAWF1 | 225.7
MUWAWF2 | 209
MURRAY | 950
MURRAY | 552
MBPS2PV1 | 13.74
300
MUSSELR1 | 168
400
250.00 - 500.00
102.06
60
100
120
50
NASF1 | 10
1.15
1.12
NEVERSF1 | 104.64
NEWENSF1 | 400
320
50
150
250
10000
0.24
NPS | 500
NINEWIL1 | 1.28
4.96
1260
11.00 - 110.00
4.00 - 40.00
147
289.8
210
2000
250
80
150
500
500
NUMURSF1 | 74
NUMURSF2 | 36.48
300
NYNGAN1 | 102.03
OAKEY2SF | 55.64
OAKEY1 | 173
OAKEY2 | 173
OAKEYSF1 | 25
OAKLAND1 | 67.2
OAKYCREK | 14.91
OAKYCREK | 6.09
OAKY2 | 15
ORANA | 408.48
80
OSB-AG | 118
OSB-AG | 62
600
300
250
250
1000
275.2
176
294
100
300
PALOONA | 28
100
225
0.11
0.11
PARSF1 | 55
PPCCGT | 358
PPCCGT | 171
20
80
80
0.2
4.9
PIBESSG1 | 5
810
22
632.4
PINDARI | 5.77
250.01
400
36.9
30.9
5000
10
4
5.7
100
POAT110 | 100
POAT220 | 200
PAREPS1 | 79.2
PAREPW1 | 210
660
21
POR01 | 50
POR03 | 23.5
300
PTSTAN1 | 46.8
PORTWF | 59.45
PORTWF | 47.15
PORTWF | 45.1
495
100.00 - 250.00
1050.00 - 1200.00
700.00 - 800.00
11
6
0.36
0.36
0.25
1.21
600
21
QPS1 | 29
QPS2 | 24
QPS3 | 29
QPS4 | 24
QPS5 | 128
165
QBYNBG1 | 10
750
QPBESS | 23.44 - 27.60
QPSF | 87.12 - 96.80
38
7
3.5
300
200
20
20
184
114
60
REDBANK1 | 128.00 - 151.00
0.21
0.21
0.21
0.21
0.21
0.6
0.21
0.21
0.21
0.21
0.21
REECE1 | 115.6
REECE2 | 115.6
0.85
150
150
REMOUNT | 1.12
RPCG | 30
REPULSE | 28
1.06
412
130
40
RESS1G | 60
RIVNBG2 | 65
32.4
330
100
250
0.05
929
1
2.25
1.06
ROCHEDAL | 4.49
90
ROMA_7 | 40
ROMA_8 | 40
150
252.25
500
RRSF1 | 128
ROWALLAN | 10.5
750
ROYALLA1 | 20
RUBICON | 13.5
240.00 - 248.00
168.00 - 173.60
72.00 - 74.40
48
480.00 - 496.00
RUGBYR1 | 65
235.2
396
0.51
0.26
200
280
170
SALTCRK1 | 54
300
100.00 - 200.00
SAPHWF1 | 270
30
0.3
1.35
1500
3.18
0.6
3000
SEBSF1 | 90
600
0.31
0.78
1.1
SHGEN | 160
SHGEN | 80
235
27
27
200
STWF1 | 198.94
0.15
SITHE01 | 83.48
SITHE01 | 39.75
SITHE04 | 61.77
700
SNAPPER1 | 154
44
20
SNOWNTH1 | 144
SNOWSTH1 | 126
SNOWTWN1 | 98.7
2040
SNUG1 | 63
SNUGNL1 | 21
256
3.2
AGLSOM | 170
200
9.5
7.8
2
32
SKSF1 | 15
156
1575.00 - 1601.25
300
STHBKTEC | 1
150
1200
100
336
120
481.8
4.2
500
5.4
1.48
0.27
291.4
0.17
30
STAN-1 | 365
STAN-2 | 365
STAN-3 | 365
STAN-4 | 365
150
4.24
SOTS1 | 2205
STARHLWF | 33
0.93
STOCKYD1 | 456.96
STOCKYD1 | 64.6
STOCKYD1 | 6
220
260
400
400
150
2.25
5
4.20 - 90.00
SMCSF1 | 143
360
600
50
SUNRSF1 | 228.8
15
1500
110
500
SUNTPSF1 | 150
250
250
250
SRSF1 | 85.26
7.2
7.2
250
SWAN_E | 385
1.12
0.39
24
120
120
TAHMOOR | 7.46
TBSF1 | 108
TB2BG1 | 41.5
TB2SF1 | 105
204
TALWA1 | 440
TALWB1 | 320
TVCC201 | 140
TVCC201 | 68
TVPP104 | 58
300
200
65
100
402
TARALGA1 | 42
TARALGA1 | 37.8
TARALGA1 | 27
TARONG#1 | 350
TARONG#2 | 350
TARONG#3 | 350
TARONG#4 | 350
150
15
TNPS1 | 450
900
1
TARRALEA | 90
200
200
500.00 - 600.00
TATIARA1 | 0.5
1.1
111
29.4
127.6
TRGBESS | 101.5
TERMSTOR | 1.86
0.50 - 200.00
THEDROP1 | 2.5
200
200
70
320
5.00 - 192.00
TITREE | 3.3
TieriBESS1 | 30.1
TieriSF001 | 74.8
248.82
TIMWEST | 7.2
0.95
0.35
0.22
0.13
1.77
0.8
0.32
0.18
0.39
0.13
0.28
0.18
0.17
0.26
0.26
1.2
500
1.23
TOORAWF | 21
400
TORRA3 | 120
TORRB1 | 200
TORRB2 | 200
TORRB3 | 200
TORRB4 | 200
TIBG1 / TIPL1 | 250.7
TOWER | 41.2
YABULU | 160
YABULU2 | 84
TREVALLN | 53
TREVALLN | 40
30
TRIBUTE | 82.8
750
295
295
TUMUT3 | 1500
32
TUNGATIN | 125
151.20 - 277.20
ULBESS | 154.96
2000
1.8
0.09
0.07
0.14
0.05
0.16
0.06
1.09
UBBATT1 | 104
UBWF1 | 355
291
10
79.8
UPPTUMUT | 328
UPPTUMUT | 288
URANQ11 | 173
URANQ12 | 173
URANQ13 | 173
URANQ14 | 173
414
VP5 | 660
VP6 | 660
55
VPGS1 | 50
VPGS2 | 50
VPGS3 | 50
VPGS4 | 50
VPGS5 | 50
VPGS6 | 50
34
34
0.75
19
5
VBBG1 | 300
300
200
34
0.2
WAGGNSF1 | 36.01
WAGGNSF1 | 19.64
15
1
1
WLWLSF1 | 151.97
WLWLSF2 | 151.97
122.4
1.00 - 500.00
WALGRVG1 | 50
252
248
WANDBG1 | 100
WANDSF1 | 160
240
26.4
0.13
WARATAH | 850.18
1240.00 - 1500.00
WARWSF1 | 32.1
WARWSF2 | 32.1
WATERLWF | 111
WATERLWF | 19.8
376
WPWF | 90.75
WAUBRAWF | 93
WAUBRAWF | 76.5
WAUBRAWF | 22.5
307.8
500
500
198.00 - 300.00
WELNSF1 | 436.8
WELLSF1 | 216.08
WEMENSF1 | 97.5
20
WESTILL1 | 1.43
WKIEWA1 | 34
WKIEWA2 | 34
800
400
1
WSTWYSF1 | 105.27
WDBESS | 259.2
207
WDGPH1 | 399.97
36.92 - 50.40
WESTCBT1 | 1.32
58
288
WRSF1 | 20
WRWF1 | 172.48
211.5
WHITSF1 | 57.5
WHIT1 | 0.5
140
100
4
6
6
354
50
WILLHOV1 | 1.8
250
6.8
WGWF1 | 91.92
WGWF1 | 27.44
200
80
220
WHILL1 | 12
4.1
4.1
737.8
200
WINTSF1 | 85
W/HOE#1 | 285
W/HOE#2 | 285
76
WOLARSF1 | 280
7.86
600
WONWP | 12
250
300
WDLNGN01 | 7.46
WOODLWN1 | 48.3
500
0.3
WOOLNTH1 | 54.25
WOOLNTH1 | 75
WOOLNTH1 | 10.5
WOOLGSF1 | 222.5
73
350
1.06
WUNUSF1 | 93.5
400
WYASF1 | 62.32
WYANGALA | 20
WYANGALB | 4
WYNDW | 2.06
WYNDW | 0.78
2.12
2.25
1100
264
92.4
YWPS1 | 350
YWPS2 | 350
YWPS3 | 375
YWPS4 | 375
28.7
1.14
0.2
YAMBUKWF | 30
1497.6
1220
60
584.43
YARANSF1 | 102.96
9.5
YARWUN_1 | 180
80
YATSF1 | 50
YATSF1 | 44
YAWWF1 | 7.2
YENDWF1 | 144.4
635.8
0.11